## Slide 1
Technical Assets Management (TAM): A Strategic Solution to Reduce Non-Revenue Water (NRW)
Baha Faqih – Abedalhakim Sadeh – Moath Bakkar – Date

## Slide 2
Agenda
Understanding NRW
What is Technical Assets Management (TAM)?
Link Between TAM and NRW
Key Components of TAM
Implementation Strategy
Benefits of TAM in Reducing NRW
Case Studies / Examples
Conclusion
Q&A

## Slide 3
Understanding NRW
Definition: Water that has been produced but is not billed due to losses (leakages, theft, metering inaccuracies).
Components:
  Physical losses (leaks)
  Commercial losses (theft, meter errors)
Global Average NRW: ~30% in developing countries
Impact: Revenue loss, wasted resources, operational inefficiencies

## Slide 4
What is TAM?
Definition: A systematic approach to managing infrastructure assets (pipelines, valves, pumps, meters, etc.)
Goal: Maximize service delivery and lifespan while minimizing costs and failures
Standards: Aligns with ISO 55000 Asset Management

## Slide 5
Link Between TAM and NRW
Proper asset knowledge = quicker leak detection
Preventative maintenance = reduced physical losses
Accurate metering = less commercial loss
Better investment planning = cost-effective upgrades

## Slide 6
Key Components of TAM
Asset Registry (GIS-based inventory)
Condition Assessment
Risk and Criticality Analysis
Lifecycle Costing
Maintenance Planning (Preventive vs Reactive)
Performance Monitoring

## Slide 7
Implementation Strategy
Data Collection: GPS, SCADA, IoT sensors
System Integration: GIS + ERP + CMMS
Capacity Building: Training for staff
Pilot Programs: Start small and scale
Continuous Monitoring & Optimization

## Slide 8
Benefits of TAM in Reducing NRW
Faster leak detection & response
Reduced downtime and water loss
Better capital planning for aging infrastructure
Increased billing accuracy
Improved customer satisfaction

## Slide 9
Conclusion
TAM is a critical enabler for sustainable NRW reduction
Invest today in assets to save water and money tomorrow
Aligns with smart city, sustainability, and climate resilience goals

## Slide 10
Q&A
Thank You